{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":52,"n_cols":14,"rows_kept":52,"merged":[[0,0,0,13],[1,0,1,13],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,12,4,12],[2,13,4,13]],"flags":["formulas_cached_only"]}
["12下半月管网水半月检常规项目检验汇总表"]
["委托单位名称：淄博市自来水有限责任公司                                                                               检测单位：淄博安瑞水质检测有限责任公司                                                                                                                                                                                                                                                                                               "]
["序号","采样日期","采样地点","样品编号","菌落总数","总大肠菌群","色度","浑浊度","臭和味","肉眼可见物","二氧化氯","高锰酸盐指数（以O2计）","报告日期","检测人员"]
[{"$nulls":4},"CFU/mL","CFU/100mL","度","NTU","/","/","mg/L","mg/L"]
[{"$nulls":4},"≤100","不应检出","≤15","≤1","无异臭、异味","无","出厂水和末梢水中限值0.8，出厂水中余量≥0.1，末梢水中余量 ≥0.02","≤3"]
[1,"2025.12.16","新村西路140号原市水资办","20251216-1059",4,"未检出","<5",0.28,"无","无",0.05,"/","2025.12.18"," 王晓芳"]
[2,"2025.12.16","淄博市政务中心","20251216-1060",7,"未检出","<5",0.22,"无","无",0.04,"/","2025.12.18"," 王晓芳"]
[3,"2025.12.16","张店区疾控中心","20251216-1061",5,"未检出","<5",0.24,"无","无",0.03,"/","2025.12.18"," 王晓芳"]
[4,"2025.12.16","西苑社区","20251216-1062",10,"未检出","<5",0.23,"无","无",0.03,"/","2025.12.18"," 王晓芳"]
[5,"2025.12.16","五公里党群站","20251216-1063",8,"未检出","<5",0.22,"无","无",0.04,1.42,"2025.12.18"," 王晓芳"]
[6,"2025.12.16","   市自来水公司南定营销服务中心","20251216-1064",1,"未检出","<5",0.33,"无","无",0.05,1.35,"2025.12.18"," 王晓芳"]
[7,"2025.12.16","市自来水公司铝城营业所","20251216-1065",12,"未检出","<5",0.38,"无","无",0.03,"/","2025.12.18"," 王晓芳"]
[8,"2025.12.16","经开区后南定村卫生室","20251216-1066",5,"未检出","<5",0.27,"无","无",0.04,"/","2025.12.18"," 王晓芳"]
[9,"2025.12.16","张南路101号中石油加油站","20251216-1067",6,"未检出","<5",0.24,"无","无",0.03,"/","2025.12.18"," 王晓芳"]
[10,"2025.12.16","山泉路启星比亚迪4S店","20251216-1068",5,"未检出","<5",0.23,"无","无",0.04,"/","2025.12.18"," 王晓芳"]
[11,"2025.12.17","天勤苑社区","20251217-1069",16,"未检出","<5",0.28,"无","无",0.03,1.58,"2025.12.19"," 王晓芳"]
[12,"2025.12.17","高新区金晶大道汇驰奔驰4S店","20251217-1070","未检出","未检出","<5",{"v":0.2,"d":"0.20"},"无","无",0.05,"/","2025.12.19"," 王晓芳"]
[13,"2025.12.17","金都花园社区","20251217-1071","未检出","未检出","<5",0.22,"无","无",0.05,1.73,"2025.12.19"," 王晓芳"]
[14,"2025.12.17","星悦城社区","20251217-1072",5,"未检出","<5",0.19,"无","无",0.03,1.66,"2025.12.19"," 王晓芳"]
[15,"2025.12.17","外商居住区","20251217-1073",14,"未检出","<5",0.24,"无","无",0.02,"/","2025.12.19"," 王晓芳"]
[16,"2025.12.17","市自来水开发区营业所","20251217-1074",3,"未检出","<5",0.19,"无","无",0.04,"/","2025.12.19"," 王晓芳"]
[17,"2025.12.17","淄博市十一中","20251217-1075",4,"未检出","<5",{"v":0.2,"d":"0.20"},"无","无",0.04,"/","2025.12.19"," 王晓芳"]
[18,"2025.12.17","丽莎会议中心","20251217-1076",31,"未检出","<5",0.26,"无","无",0.02,"/","2025.12.19"," 王晓芳"]
[19,"2025.12.17","华侨城警务室","20251217-1077",22,"未检出","<5",0.35,"无","无",0.03,"/","2025.12.19"," 王晓芳"]
[20,"2025.12.22","淄博市委","20251222-1078",5,"未检出","<5",0.32,"无","无",0.04,"/","2025.12.24"," 王晓芳"]
[21,"2025.12.22","张店区军休所","20251222-1079",9,"未检出","<5",0.31,"无","无",0.05,"/","2025.12.24"," 王晓芳"]
[22,"2025.12.22","五里桥生活区","20251222-1080",6,"未检出","<5",0.25,"无","无",0.03,"/","2025.12.24"," 王晓芳"]
[23,"2025.12.22","祥瑞花园社区","20251222-1081",17,"未检出","<5",{"v":0.3,"d":"0.30"},"无","无",0.04,"/","2025.12.24"," 王晓芳"]
[24,"2025.12.22","张店八中","20251222-1082",8,"未检出","<5",0.22,"无","无",0.03,"/","2025.12.24"," 王晓芳"]
[25,"2025.12.22","淄博市图书馆","20251222-1083",5,"未检出","<5",0.21,"无","无",0.04,"/","2025.12.24"," 王晓芳"]
[26,"2025.12.22","积家村党群服务中心","20251222-1084",7,"未检出","<5",0.31,"无","无",0.03,1.71,"2025.12.24"," 王晓芳"]
[27,"2025.12.22","明德苑社区","20251222-1085",4,"未检出","<5",0.18,"无","无",0.04,"/","2025.12.24"," 王晓芳"]
[28,"2025.12.23","恒嘉园社区","20251223-1086",6,"未检出","<5",{"v":0.3,"d":"0.30"},"无","无",0.03,"/","2025.12.25"," 王晓芳"]
[29,"2025.12.23","人民东路小学","20251223-1087","未检出","未检出","<5",0.23,"无","无",0.03,"/","2025.12.25"," 王晓芳"]
[30,"2025.12.23","张店区保安公司","20251223-1088","未检出","未检出","<5",0.22,"无","无",0.04,"/","2025.12.25"," 王晓芳"]
[31,"2025.12.23","润德实业公司","20251223-1089",3,"未检出","<5",{"v":0.2,"d":"0.20"},"无","无",0.06,"/","2025.12.25"," 王晓芳"]
[32,"2025.12.23","行政执法局湖田中队","20251223-1090",4,"未检出","<5",0.31,"无","无",0.05,"/","2025.12.25"," 王晓芳"]
[33,"2025.12.23","淄博市公交东站","20251223-1091",7,"未检出","<5",0.26,"无","无",0.05,"/","2025.12.25"," 王晓芳"]
[34,"2025.12.23","洪三社区","20251223-1092",16,"未检出","<5",0.33,"无","无",0.03,{"v":1.5,"d":"1.50"},"2025.12.25"," 王晓芳"]
[35,"2025.12.24","淄博市工商局","20251224-1093",9,"未检出","<5",0.25,"无","无",0.04,"/","2025.12.26"," 王晓芳"]
[36,"2025.12.24","市自来水公司新区营业所","20251224-1094",7,"未检出","<5",0.22,"无","无",0.03,"/","2025.12.26"," 王晓芳"]
[37,"2025.12.24","颐臻园社区","20251224-1095",13,"未检出","<5",0.29,"无","无",0.05,"/","2025.12.26"," 王晓芳"]
[38,"2025.12.24","世纪花园社区","20251224-1096",6,"未检出","<5",0.31,"无","无",0.04,"/","2025.12.26"," 王晓芳"]
[39,"2025.12.24","瑞丰苑社区","20251224-1097",2,"未检出","<5",0.29,"无","无",0.03,1.48,"2025.12.26"," 王晓芳"]
[40,"2025.12.24","科技苑物业","20251224-1098",1,"未检出","<5",0.21,"无","无",0.05,"/","2025.12.26"," 王晓芳"]
[41,"2025.12.29","淄博市体育馆","20251229-1099",13,"未检出","<5",0.25,"无","无",0.05,"/","2025.12.31"," 王晓芳"]
[42,"2025.12.29","福源汇社区","20251229-1100",2,"未检出","<5",0.24,"无","无",0.03,"/","2025.12.31"," 王晓芳"]
[43,"2025.12.29","孝妇河湿地公园喷泉广场","20251229-1101",6,"未检出","<5",0.28,"无","无",0.04,1.41,"2025.12.31"," 王晓芳"]
[44,"2025.12.29","石家社区","20251229-1102",5,"未检出","<5",0.22,"无","无",0.03,1.53,"2025.12.31"," 王晓芳"]
[45,"2025.12.29","盛世康城社区","20251229-1103",4,"未检出","<5",0.23,"无","无",0.04,"/","2025.12.31"," 王晓芳"]
[46,"2025.12.29","福瑞家园社区","20251229-1104",4,"未检出","<5",0.18,"无","无",0.03,1.78,"2025.12.31"," 王晓芳"]
[null,null,"以下空白"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}